Property Report:

Property Contact Information:

Contact Name: Andrea L Klyczek

Contact Phone Number: (716) 278-8761(O) or (716) 243-9384 (C)

Contact Email Address: andrea.klyczek@niagaracounty.com

Property Information:

Property Address: 429 Roger Ave.

Property SBL#: 175.12-2-17

Approximate Year Built: 1911

Approximate Square Footage:1,400

Number of Bedrooms:  4

Number of Bathrooms: 1

Property Development Summary:

Please describe below the preferred redevelopment plan and include any noteworthy results the municipality would like NORLIC to take into consideration, i.e. owner occupancy, desired tenant, etc. (Please use additional pages if necessary)

Property was a bank donation. Little improvements are necessary, other than modest cosmetic upgrades, such as painting, carpeting, etc.

Property located on a spacious lot in a nice residential neighborhood.  Ideally, this home will be occupied by owners who wish to become a part of the neighborhood and community.

Neighborhood Improvement Summary:

The property is located in very nice residential area that is not a part of a needs assessment plan. The homes within the neighborhood are in excellent condition. The plan forward would be for the new owner to maintain the home in a manner that is consistent with the neighborhood.

1. Grounds

Grading:

Grading Slope: Flat, Minor, Moderate, Steep, Very Steep

Grading Conditions____	Comments:______________________________________

_______________________________________________________________________

Driveway/Sidewalk & Walkways:

Driveway/Sidewalk material: Gravel, Concrete, Asphalt

Driveway/Sidewalk Conditions:  good      Comments: Approximately 90% of the driveway is in good condition. There are two 8x8 ft. cracked sections.

Vegetation:

Vegetation Conditions: _good      Comments: lawn is in good condition with minor overgrowth

2. Exterior

Entrance Conditions:

Front Entrance Type: Covered/Uncovered, Patio, Porch, Deck

Front Entrance Conditions: poor   Comments: House had a covered porch which has been removed. Front entry is unusable.

Rear Entrance Type: Covered/Uncovered, Patio, Porch, Deck

Rear Entrance Conditions: good   Comments:

Exterior Walls/Trim:

Structure Type: Wood Frame, Brick/Masonry, Log

Exterior Wall Covering: Wood, Vinyl, Metal, Brick, Stone, Stucco, Veneer, EIFS, Asphalt

Exterior Wall Conditions: poor      Comments: Many areas of missing or damaged siding

Trim material: Wood, Vinyl, Brick

Trim Conditions: good     Comments: Trim covered with vinyl and aluminum

Eave/Soffit/Fascia:

Conditions: good   Comments: covered with vinyl and aluminum

Windows/Exterior Doors:

Window Material: Aluminum, Wood, Vinyl

Window Type: Sliding, Casement, Double Hung, Single Hung, Louver

Window Conditions: good     Comments: some new replacement windows (primarily on the second floor) wood windows with triple track storm/screens.

Door Conditions: good   Comments: pet door

Exterior Water Spickets:

Faucet Conditions: good     Comments: two sillcock

3. Roofing

Roof Covering:

Method of Inspection: Walked on, Viewed from ladder, Not fully visible (viewed from ground)

Roof Style: Hip, Gable, Mansard, Shed, Gambrel

Roof Covering Material: Composition shingle, Metal, Clay, Wood Shingles/Shakes

Number of Layers: One, Two, Three, Four or more, Undetermined

Roof Condition: good    Comments: main frame, poor front porch

Flashing Conditions:_good___   Comments:________________________________________

________________________________________________________________________

Condition of Roof Penetrations:_good   Comments:_______________________________

________________________________________________________________________

Gutter and Downspout Conditions: good     Comments:

Chimney:

Chimney Material: Brick, Block, Concrete, Stone

Chimney Conditions: good          Comment:  ______________________________

Attic:

Access Location: scuttle hole, second floor common hall

Method of Inspection: Entered Attic, No Access, Viewed from Access Entrance Only

Roof Frame Type: Rafters, Trusses

Roof Frame Condition: good   Comments:______________________________________

________________________________________________________________________

Ceiling Frame Type: Joists, Trusses

Ceiling Frame Condition: Good  Comments:____________________________________

________________________________________________________________________

Attic Ventilation Type: Gabel End, Ridge, Soffit, Rotary Vent

Attic Ventilation Conditions: good    Comments:

Insulation Type: Blown in, Rolled Fiberglass, Combination, None Present

Insulation Conditions:____     Comments:______________________________________

_______________________________________________________________________

Attic Fan Condition:____    Comments:________________________________________

Other Attic Conditions:____     Comments:_____________________________________

________________________________________________________________________

4. Heating/Air

Heating:

Location of Unit: basement

Heating Type: Forced Air, Gravity, Radiant, Boiler, Floor/Wall, Heat Pump

Energy Source: Natural Gas, Oil, Wood/Coal, Electric

Heating Unit Condition: good    Comments:___Visual inspection only_____

Distribution Type: Registers, Gravity, Radiators, Convectors, Baseboard

Distribution Conditions:good____     Comments:____________________________________

________________________________________________________________________

Ventilation Conditions:____     Comment:______________________________________

________________________________________________________________________

Thermostat Condition:good____     Comments: replace

Air Conditioning/Cooling:

Cooling System Type: Split System, Evaporative Cooler, Window/Wall Unit, Heat Pump

A/C Unit Power: 120V, 240V

Unit Conditions:____     Comments:_no air__________________________________

________________________________________________________________________

A/C Line Conditions:____     Comments:______________________________________

________________________________________________________________________

Fireplace:

Fireplace Location:_________________

Fireplace Type: Wood Burning, Natural Gas, Propane, Ventless Gas

Fireplace Conditions:____     Comments:_______________________________________

________________________________________________________________________

5. Electrical

Service Drop/Weatherhead:

Electrical Service Type/Material: Overhead/Underground, Copper/Aluminum

Number of Conductors: Two, Three, Four

Electrical Service Condition: good    Comments:______________

Grounding Condition: good   Comments: incomplete

Main Electrical Panel:

Main Disconnect Location: At Main Panel, Outside at Meter, Other________________

Main Panel Location: basement

Panel Amperage Rating: 60, 100, 150, 200, Other___________

Circuit Protection Type: Breakers, Fuses

Main Panel Conditions: good     Comments:_____________________________________

________________________________________________________________________

Wiring:

Conductor Type: Copper, Aluminum

Wiring Method: Plastic-Sheathed, Cloth-Sheathed, Knob & Tube

Conditions:_good___    Comments:_______________________________________________

Electrical subpanel(s):

Subpanel Location(s):___________________

Subpanel Conditions:____    Comments:_______________________________________

________________________________________________________________________

6. Plumbing

Water Main Line:

Main shutoff Location:  basement

Main Line Material: Copper, Galvanized Steel, Plastic/PVC, Lead

Main Line & Valve Condition: good   Comments:

Water Supply Lines:

Supply Line Material: Copper, Galvanized, Plastic/PVC, Lead

Supply Line Conditions:  good ____     Comments:____________________________________
________________________________________________________________________

Drain/Waste Lines:

Drain Line Material: Plastic/PVC, Galvanized, Lead, Copper

Drain Line Conditions: good    Comments:

Plumbing Vent System:

Plumbing Vent Pipe Material: Plastic/PVC, Copper, Galvanized

Plumbing Vent Conditions: good     Comments:__________________________________

________________________________________________________________________

Gas/Oil Fuel Systems:

Main Shutoff Location: outside

Fuel Line Material: Black Iron, Copper

Fuel Line Conditions: good     Comments:

Fuel Storage Tank Condition:____     Comments:________________________________

________________________________________________________________________

Water Heater(s):

Water Heater Type: Gas

Water Heater Location:_basement

Capacity:40 Gallons

Water Heater Conditions: fair     Comments: visual inspection only, improper fuel

7. Interiors:

Interior Walls/Ceilings/Floors:

Wall Conditions: good     Comments:

Ceiling Conditions: good     Comments: plaster or pressed paper

Floor Conditions: good     Comments: hardwood, vinyl

Closet Conditions: good      Comments:_________________________________________

________________________________________________________________________

Heating Source Conditions: good    Comments:__________________________________

________________________________________________________________________

Windows/Doors:

Interior Window Conditions:_good___     Comments:_________________________________

_______________________________________________________________________

Interior Door Conditions: good      Comments:____________________________________

________________________________________________________________________

Interiors Electrical Conditions:

Electrical Conditions: good    Comments:

Lighting Conditions: good     Comments:

Ceiling Fan Conditions: good   Comments:

Smoke Detectors Present? Yes, No    Comments:________________________________

________________________________________________________________________

8. Kitchen

Walls/Ceilings/Floors:

Wall Conditions: good   Comments:____wood__________________
________________________________________________________________________

Ceiling Conditions: good     Comments:_____pressed paper

________________________________________________________________________

Floor Conditions: ok     Comments:__________________________________________

________________________________________________________________________

Closet Conditions:____     Comments:_________________________________________

________________________________________________________________________

Heating Source Conditions:____     Comments:__________________________________

________________________________________________________________________

Windows/Doors:

Kitchen Window Conditions: ok     Comments:_________________________________

_______________________________________________________________________

Kitchen Door Conditions: ok     Comments:____________________________________

________________________________________________________________________

Kitchen Electrical Conditions:

Electrical Conditions: good     Comments:

Lighting Conditions: good     Comments:

Ceiling Fan Conditions: good    Comments:

Sink/Counter Tops/Cabinets:

Counter Condition: good     Comments:_Formica______________________________________

Cabinet Conditions: good     Comments:________________________________________

Sink Plumbing Conditions: good     Comments:

Sink Faucet Condition: good      Comments:

Garbage Disposal Condition:____    Comments:_________________________________

________________________________________________________________________

Appliances:

Stove/Range Type: Gas

Stove/Range Conditions:____     Comments:__no range on site_________

________________________________________________________________________

Hood/Fan Condition:_good_     Comments:_______________________________________

Dishwasher Condition: good     Comments:_visual inspection________

________________________________________________________________________

Refrigerator Condition:_good   Comments:_____________________________________

9. Bath(s):

Walls/Ceilings/Floors:

Wall Conditions: fair     Comments:___wood_paneling_____________
________________________________________________________________________

Ceiling Conditions: fair     Comments:_wood_______________________________

________________________________________________________________________

Floor Conditions: poor    Comments:__sheet vinyl___________________

________________________________________________________________________

Closet Conditions:____     Comments:_________________________________________

________________________________________________________________________

Heating Source Conditions:____     Comments:__________________________________

________________________________________________________________________

Windows/Doors:

Window Conditions:_good___     Comments:___wood with triple track storm/screen

_______________________________________________________________________

Door Conditions:____     Comments:__no bathroom door onsite

________________________________________________________________________

Bathroom Electrical Conditions:

Electrical Conditions: good      Comments:

Lighting Conditions: good    Comments:

Ventilation Fan Conditions:_good___     Comments:

Sink/Plumbing:

Counter/Cabinet Conditions:     Comments:________________________________

_______________________________________________________________________

Sink Drain Conditions: fair   Comments:

Faucet Conditions: good    Comments:

Shower/Tub/Toilet:

Shower Enclosure Condition:_poor     Comments: fiberglass

Tub Condition: fair      Comments:_cast__________________________________

________________________________________________________________________

Bath Faucet Condition: good    Comments:_three handle________________

_______________________________________________________________________

Toilet Condition: good     Comments:________________________________________

________________________________________________________________________

10. Basement:

Basement Walls/Ceilings/Floors:

Wall Conditions: good     Comments: Poured concrete

Ceiling Conditions: good   Comments: joists

Floor Conditions: good    Comments: peeling

Closet Conditions:_good     Comments:_________________________________________

Heating Source Conditions:    Comments:__________________________________

Windows/Doors:

Window Conditions: good     Comments: glass block

Door Conditions:____     Comments:__no basement__________________________

________________________________________________________________________

Electrical Conditions:

Electrical Conditions:_good___     Comments:

Sump Pump Conditions:____     Comments:_no sump pump on site________

________________________________________________________________________

Other Basement Conditions: poor     Comments: debris

11. Garage/Laundry:

Garage:

Garage Type: Attached/Detached, Finished/Unfinished, out building-shed

Exterior Siding Condition (if detached): vinyl  Comments:_________________________

Roofing Condition (if detached): good  Comments: asphalt

Garage Interiors:

Wall Conditions_good   Comments:___________________________________________
________________________________________________________________________

Ceiling Conditions_good     Comments:_________________________________________

________________________________________________________________________

Floor Conditions_good     Comments:__________________________________________

________________________________________________________________________

Window Conditions_good     Comments:_______________________________________

_______________________________________________________________________

Door Conditions_good     Comments:__________________________________________

________________________________________________________________________

Electrical/Lighting Conditions_good    Comments:_______________________________

_______________________________________________________________________

Garage Vehicle Door:

Vehicle Door Condition_good___     Comments:____________________________________

_______________________________________________________________________

Automatic Door Opener Condition:____  Comments:_no__________________________

_______________________________________________________________________

Laundry Room:

Laundry Room Conditions____     Comments:__________________________________

_______________________________________________________________________

12. Foundation/Crawl Space:

Foundation:

Access Method: Entered Crawl Space, Viewed from Access, No Access

Access Condition:      Comments:________________________________________

Foundation Type: Crawl Space, Basement, Slab on Grade

Foundation Material: Poured Concrete, Concrete Block, Brick, Stone, Wood

Foundation Conditions:   Comments:

Column Type: Poured Concrete, Concrete Block, Brick, Stone, Wood, Steel

Column Conditions: good      Comments:______________________________________

________________________________________________________________________

Ventilation Conditions:____     Comments:____________________________________

________________________________________________________________________

Flooring/Structure:

Flooring Support Type: Joists, Trusses

Flooring Support Conditions:   Comments:_______________________________

________________________________________________________________________

Crawl Space Insulation/Vapor Barrier:

Insulation Conditions:  Comments:

Vapor Barrier Conditions____     Comments:___________________________________

________________________________________________________________________

Other Crawl Space Conditions:______________________________________________

________________________________________________________________________________________________________________________________________________